## P&C-IFP_30%
|  | Company: | Spearmint
|  | Project: | Nomadic Red Egret Substation
|  | Document No: | NRE-RS-002.0
|  | Document Title: | TRANSMITTAL DRAWING RECORD
|  | Rev: | B
|  | Date: | 2023-10-24
NOMADIC RED EGRET SUBSTATION Drawing Documents (138/34.5kV Substation)
Protection & Control
Dwg. No. | Drawing Type | Drawing Title |  | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev.
NRE-EC-001.0 | DRAWING INDEX | PROTECTION & CONTROLS |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-002.0 | LEGEND | PROTECTION & CONTROLS |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-100.0 | ONE LINE DIAGRAM | OPERATIONAL |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-101.0 | ONE LINE DIAGRAM | RELAYING 138kV LINE & 138kV BKR 52-L1 |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-102.0 | ONE LINE DIAGRAM | RELAYING 138/34.5kV T1 & T2 TRANSFORMER |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-103.0 | ONE LINE DIAGRAM | RELAYING 34.5kV BUS 1 |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-104.0 | ONE LINE DIAGRAM | RELAYING 34.5kV BUS 2 |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-110.0 | RELAY FUNCTIONALS | HIGH SIDE |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-111.0 | RELAY FUNCTIONALS | LOW SIDE |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-373.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL LAYOUT & BILL OF MATERIAL |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-400.0 | STANDARD PANEL | ELEVATION & BILL OF MATERIALS |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-400.1 | PANEL ELEVATION | OVERALL LINEUP |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-401.0 | PANEL ELEVATION & BOM | PANEL 1 SCADA & COMMUNICATIONS |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-402.0 | PANEL ELEVATION & BOM | PANEL 2 138kV LINE & METERING PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-403.0 | PANEL ELEVATION & BOM | PANEL 3 138kV BUS DIFF & BKR L1 PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-404.0 | PANEL ELEVATION & BOM | PANEL 4 138/34.5kV T1 PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-405.0 | PANEL ELEVATION & BOM | PANEL 5 138/34.5kV T2 PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-406.0 | PANEL ELEVATION & BOM | PANEL 6 34.5kV BUS 1 DIFF, CAP 11&12, & DFR PROTECTION AND CONTROL |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-407.0 | PANEL ELEVATION & BOM | PANEL 7 34.5kV BKRS 11, 12, 13, 14 PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-408.0 | PANEL ELEVATION & BOM | PANEL 8 34.5kV BUS 2 DIFF & CAP 21&22 PROTECTION AND CONTROL |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-409.0 | PANEL ELEVATION & BOM | PANEL 9 34.5kV BKRS 21, 22, 23, 24 PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-410.0 | PANEL ELEVATION & BOM | PANEL 10 BESS & GENERATOR METERING |  | 2023-08-17 | A | 2023-10-24 | B
NRE-EC-500.0 | STANDARD TERMINATION CABINET | ELEVATION & BILL OF MATERIALS |  | 2023-08-17 | A | 2023-10-24 | B

## P&C-IFR_60%
|  | Company: | Spearmint
|  | Project: | Nomadic Red Egret Substation
|  | Document No: | NRE-RS-002.0
|  | Document Title: | TRANSMITTAL DRAWING RECORD
|  | Rev: | C
|  | Date: | 2023-12-05
Nomadic Red Egret Substation Drawing Documents (138/34.5kV Substation)
Protection & Control
Dwg. No. | Drawing Type | Drawing Title |  | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev.
NRE-EC-001.0 | DRAWING INDEX | PROTECTION & CONTROLS |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-002.0 | LEGEND | PROTECTION & CONTROLS |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-100.0 | ONE LINE DIAGRAM | OPERATIONAL |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-101.0 | ONE LINE DIAGRAM | RELAYING 138kV LINE & 138kV BKR L1 |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-102.0 | ONE LINE DIAGRAM | RELAYING 138/34.5kV T1 & T2 TRANSFORMERS |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-103.0 | ONE LINE DIAGRAM | RELAYING 34.5kV BUS 1 |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-104.0 | ONE LINE DIAGRAM | RELAYING 34.5kV BUS 2 |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-110.0 | RELAY FUNCTIONALS | HIGH SIDE |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-111.0 | RELAY FUNCTIONALS | LOW SIDE |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-120.0 | COMMUNICATION | BLOCK DIAGRAM | [5 empty] | 2023-12-05 | A
NRE-EC-122.0 | COMMUNICATION | APPLICATION DIAGRAM | [5 empty] | 2023-12-05 | A
NRE-EC-200.0 | AC SCHEMATIC | 138kV 89-L1 & CCVT-HV | [5 empty] | 2023-12-05 | A
NRE-EC-200.1 | AC SCHEMATIC | 138kV BKR L1 | [5 empty] | 2023-12-05 | A
NRE-EC-200.2 | AC SCHEMATIC | 138kV BUS DIFFERENTIAL RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-202.0 | AC SCHEMATIC | 138/34.5kV T1 TRANSFORMER | [5 empty] | 2023-12-05 | A
NRE-EC-202.1 | AC SCHEMATIC | 138/34.5kV T2 TRANSFORMER | [5 empty] | 2023-12-05 | A
NRE-EC-205.0 | AC SCHEMATIC | 34.5kV BUS 1 & VT-B1 | [5 empty] | 2023-12-05 | A
NRE-EC-205.1 | AC SCHEMATIC | 34.5kV BUS 1 DIFFERENTIAL RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-206.0 | AC SCHEMATIC | 34.5kV BUS 2 & VT-B2 | [5 empty] | 2023-12-05 | A
NRE-EC-206.1 | AC SCHEMATIC | 34.5kV BUS 2 DIFFERENTIAL RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-211.0 | AC SCHEMATIC | 34.5kV BKRS 11 & 12 | [5 empty] | 2023-12-05 | A
NRE-EC-212.0 | AC SCHEMATIC | 34.5kV BKRS 13 & 14 | [5 empty] | 2023-12-05 | A
NRE-EC-213.0 | AC SCHEMATIC | 34.5kV BKR AUX1& CT-B1M & BUS TIE 89-BT1 | [5 empty] | 2023-12-05 | A
NRE-EC-214.0 | AC SCHEMATIC | 34.5kV BUS 1 & VT-B1M
NRE-EC-221.0 | AC SCHEMATIC | 34.5kV BKRS 21 & 22 | [5 empty] | 2023-12-05 | A
NRE-EC-222.0 | AC SCHEMATIC | 34.5kV BKRS 23 & 24 | [5 empty] | 2023-12-05 | A
NRE-EC-223.0 | AC SCHEMATIC | 34.5kV BKRS AUX2 & CT-B2M | [5 empty] | 2023-12-05 | A
NRE-EC-224.0 | AC SCHEMATIC | 34.5kV BUS 2 & VT-B2M
NRE-EC-260.0 | AC SCHEMATIC | DIGITAL FAULT RECORDER 1 ANALOG INPUTS | [5 empty] | 2023-12-05 | A
NRE-EC-261.0 | AC SCHEMATIC | DIGITAL FAULT RECORDER 2 ANALOG INPUTS | [5 empty] | 2023-12-05 | A
NRE-EC-300.0 | DC SCHEMATIC | 138kV DISCONNECT SWITCH L1, T1, T2, M1, M2 & BT1 | [5 empty] | 2023-12-05 | A
NRE-EC-301.0 | DC SCHEMATIC | 138kV BREAKER L1 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-301.1 | DC SCHEMATIC | 138kV BREAKER L1 PROTECTION & CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-301.2 | DC SCHEMATIC | 138kV BREAKER L1 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-304.0 | DC SCHEMATIC | 138kV LINE PRIMARY RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-304.1 | DC SCHEMATIC | 138kV LINE SECONDARY RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-307.0 | DC SCHEMATIC | 138kV BUS DIFFERENTIAL 87-BH | [5 empty] | 2023-12-05 | A
NRE-EC-308.0 | DC SCHEMATIC | PRIMARY MASTER LOCKOUT 86MP | [5 empty] | 2023-12-05 | A
NRE-EC-308.1 | DC SCHEMATIC | SECONDARY MASTER LOCKOUT 86MS | [5 empty] | 2023-12-05 | A
NRE-EC-309.0 | DC SCHEMATIC | 138kV T1 TRANSFORMER PRIMARY RELAYING & CMET-1 | [5 empty] | 2023-12-05 | A
NRE-EC-309.1 | DC SCHEMATIC | 138kV T1 TRANSFORMER SECONDARY RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-309.2 | DC SCHEMATIC | 138kV T1 TRANSFORMER PROTECTION & CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-310.0 | DC SCHEMATIC | 34.5kV BUS 1 DIFFERENTIAL RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-311.0 | DC SCHEMATIC | 34.5kV BKR 11 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-311.1 | DC SCHEMATIC | 34.5kV BKR 11 PROTECTION AND CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-311.2 | DC SCHEMATIC | 34.5kV BKR 11 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-312.0 | DC SCHEMATIC | 34.5kV BKR 12 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-312.1 | DC SCHEMATIC | 34.5kV BKR 12 PROTECTION AND CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-312.2 | DC SCHEMATIC | 34.5kV BKR 12 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-313.0 | DC SCHEMATIC | 34.5kV BKR 13 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-313.1 | DC SCHEMATIC | 34.5kV BKR 13 PROTECTION AND CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-313.2 | DC SCHEMATIC | 34.5kV BKR 13 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-314.0 | DC SCHEMATIC | 34.5kV BKR 14 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-314.1 | DC SCHEMATIC | 34.5kV BKR 14 PROTECTION AND CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-314.2 | DC SCHEMATIC | 34.5kV BKR 14 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-315.0 | DC SCHEMATIC | 34.5kV BKR AUX1 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-315.1 | DC SCHEMATIC | 34.5kV BKR AUX1 PROTECTION AND CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-315.2 | DC SCHEMATIC | 34.5kV BKR AUX1 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-319.0 | DC SCHEMATIC | 138kV T2 TRANSFORMER PRIMARY RELAYING & CMET-2 | [5 empty] | 2023-12-05 | A
NRE-EC-319.1 | DC SCHEMATIC | 138kV T2 TRANSFORMER SECONDARY RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-319.2 | DC SCHEMATIC | 138kV T2 TRANSFORMER PROTECTION & CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-320.0 | DC SCHEMATIC | 34.5kV BUS 2 87-B2 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-321.0 | DC SCHEMATIC | 34.5kV BKR 21 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-321.1 | DC SCHEMATIC | 34.5kV BKR 21 PROTECTION AND CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-321.2 | DC SCHEMATIC | 34.5kV BKR 21 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-322.0 | DC SCHEMATIC | 34.5kV BKR 22 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-322.1 | DC SCHEMATIC | 34.5kV BKR 22 PROTECTION AND CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-322.2 | DC SCHEMATIC | 34.5kV BKR 22 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-323.0 | DC SCHEMATIC | 34.5kV BKR 23 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-323.1 | DC SCHEMATIC | 34.5kV BKR 23 PROTECTION AND CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-323.2 | DC SCHEMATIC | 34.5kV BKR 23 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-324.0 | DC SCHEMATIC | 34.5kV BKR 24 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-324.1 | DC SCHEMATIC | 34.5kV BKR 24 PROTECTION AND CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-324.2 | DC SCHEMATIC | 34.5kV BKR 24 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-325.0 | DC SCHEMATIC | 34.5kV BKR AUX2 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-325.1 | DC SCHEMATIC | 34.5kV BKR AUX2 PROTECTION AND CONTROL | [5 empty] | 2023-12-05 | A
NRE-EC-325.2 | DC SCHEMATIC | 34.5kV BKR AUX2 INTERNALS | [5 empty] | 2023-12-05 | A
NRE-EC-360.0 | DC SCHEMATIC | DIGITAL FAULT RECORDER 1 DIGITAL INPUTS | [5 empty] | 2023-12-05 | A
NRE-EC-361.0 | DC SCHEMATIC | DIGITAL FAULT RECORDER 2 DIGITAL INPUTS | [5 empty] | 2023-12-05 | A
NRE-EC-365.0 | DC SCHEMATIC | DPAC-1 RELAYING | [5 empty] | 2023-12-05 | A
NRE-EC-370.0 | COMMUNICATION | RTAC & PDC/PC | [5 empty] | 2023-12-05 | A
NRE-EC-371.0 | COMMUNICATION | CLOCK IRIG & TIME DISTRIBUTION | [5 empty] | 2023-12-05 | A
NRE-EC-372.0 | COMMUNICATION | ETHERNET SWITCHES POWER & PORT SCHEDULE | [5 empty] | 2023-12-05 | A
NRE-EC-373.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL LAYOUT & BILL OF MATERIAL |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-374.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL EEE FPP-1 INTERCONNECT | [5 empty] | 2023-12-05 | A
NRE-EC-375.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL EEE FPP-2 YARD | [5 empty] | 2023-12-05 | A
NRE-EC-376.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL EEE FPP-3 COLLECTION | [5 empty] | 2023-12-05 | A
NRE-EC-377.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL EEE FPP-4 COLLECTION | [5 empty] | 2023-12-05 | A
NRE-EC-400.0 | STANDARD PANEL | ELEVATION & BILL OF MATERIALS |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-400.1 | PANEL ELEVATION | OVERALL LINEUP |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-401.0 | PANEL ELEVATION & BOM | PANEL 1 SCADA & COMMUNICATIONS |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-402.0 | PANEL ELEVATION & BOM | PANEL 2 138kV LINE & METERING PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-403.0 | PANEL ELEVATION & BOM | PANEL 3 138kV BUS DIFF & BKR L1 PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-404.0 | PANEL ELEVATION & BOM | PANEL 4 138/34.5kV T1 PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-405.0 | PANEL ELEVATION & BOM | PANEL 5 138/34.5kV T2 PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-406.0 | PANEL ELEVATION & BOM | PANEL 6 34.5kV BUS 1 DFR PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-407.0 | PANEL ELEVATION & BOM | PANEL 7 34.5kV BKRS 11, 12, 13, 14 PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-408.0 | PANEL ELEVATION & BOM | PANEL 8 34.5kV BUS 2 DIFF PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-409.0 | PANEL ELEVATION & BOM | PANEL 9 34.5kV BKRS 21, 22, 23, 24 PROTECTION & CONTROL |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-410.0 | PANEL ELEVATION & BOM | PANEL 10 BESS & AUX. METERING |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-500.0 | STANDARD TERMINATION CABINET | ELEVATION & BILL OF MATERIALS |  | 2023-08-17 | A | 2023-10-24 | B | 2023-12-05 | C
NRE-EC-700.0 | AC SYSTEM | STATION SERVICE AUX | [5 empty] | 2023-12-05 | A
NRE-EC-701.0 | AC SYSTEM | AC PANELS 1 & 2 AC1 & AC2 | [5 empty] | 2023-12-05 | A
NRE-EC-710.0 | DC SYSTEM | BATTERY SYSTEM | [5 empty] | 2023-12-05 | A
NRE-EC-711.0 | DC SYSTEM | DC PANELS 1 & 2 DC1 & DC2 | [5 empty] | 2023-12-05 | A

## P&C-IFR_90%
|  | Company: | Spearmint
|  | Project: | Nomadic Red Egret Substation
|  | Document No: | NRE-RS-002.0
|  | Document Title: | TRANSMITTAL DRAWING RECORD
|  | Rev: | D
|  | Date: | 2024-02-08
Nomadic Red Egret Substation Drawing Documents (138/34.5kV Substation)
Protection & Control
Dwg. No. | Drawing Type | Drawing Title |  | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev.
NRE-EC-001.0 | DRAWING INDEX | PROTECTION & CONTROLS |  | 03-13-2026 | 1
NRE-EC-001.1 | DRAWING INDEX | PROTECTION & CONTROLS |  | 03-13-2026 | 1
NRE-EC-002.0 | LEGEND | PROTECTION & CONTROLS |  | 01-20-2026 | 0
NRE-EC-100.0 | ONE LINE DIAGRAM | OPERATIONAL |  | 03-13-2026 | 1
NRE-EC-101.0 | ONE LINE DIAGRAM | RELAYING 138kV LINE & 138kV BKR L1 |  | 01-20-2026 | 0
NRE-EC-102.0 | ONE LINE DIAGRAM | RELAYING 138/34.5kV T1 & T2 TRANSFORMERS |  | 03-13-2026 | 1
NRE-EC-103.0 | ONE LINE DIAGRAM | RELAYING 34.5kV BUS 1 |  | 03-13-2026 | 1
NRE-EC-104.0 | ONE LINE DIAGRAM | RELAYING 34.5kV BUS 2 |  | 01-20-2026 | 0
NRE-EC-110.0 | RELAY FUNCTIONALS | HIGH SIDE |  | 01-20-2026 | 0
NRE-EC-111.0 | RELAY FUNCTIONALS | LOW SIDE |  | 01-20-2026 | 0
NRE-EC-120.0 | COMMUNICATION | BLOCK DIAGRAM |  | 03-13-2026 | 1
NRE-EC-122.0 | COMMUNICATION | APPLICATION DIAGRAM |  | 03-13-2026 | 1
NRE-EC-200.0 | AC SCHEMATIC | 138kV 89-L1 & CCVT-HV |  | 01-20-2026 | 0
NRE-EC-200.1 | AC SCHEMATIC | 138kV BKR L1 |  | 01-20-2026 | 0
NRE-EC-200.2 | AC SCHEMATIC | 138kV BUS DIFFERENTIAL RELAYING |  | 01-20-2026 | 0
NRE-EC-202.0 | AC SCHEMATIC | 138/34.5kV T1 TRANSFORMER |  | 03-13-2026 | 1
NRE-EC-202.1 | AC SCHEMATIC | 138/34.5kV T2 TRANSFORMER |  | 03-13-2026 | 1
NRE-EC-205.0 | AC SCHEMATIC | 34.5kV BUS 1 & VT-B1 |  | 01-20-2026 | 0
NRE-EC-205.1 | AC SCHEMATIC | 34.5kV BUS 1 DIFFERENTIAL RELAYING |  | 01-20-2026 | 0
NRE-EC-206.0 | AC SCHEMATIC | 34.5kV BUS 2 & VT-B2 |  | 01-20-2026 | 0
NRE-EC-206.1 | AC SCHEMATIC | 34.5kV BUS 2 DIFFERENTIAL RELAYING |  | 01-20-2026 | 0
NRE-EC-211.0 | AC SCHEMATIC | 34.5kV BKRS 11 & 12 |  | 01-20-2026 | 0
NRE-EC-212.0 | AC SCHEMATIC | 34.5kV BKRS 13 & 14 |  | 03-13-2026 | 1
NRE-EC-213.0 | AC SCHEMATIC | 34.5kV BKR AUX1 & CT-B1M & BUS TIE 89-BT1 |  | 03-13-2026 | 1
NRE-EC-214.0 | AC SCHEMATIC | 34.5kV BUS 1 & VT-B1M |  | 03-13-2026 | 1
NRE-EC-221.0 | AC SCHEMATIC | 34.5kV BKRS 21 & 22 |  | 01-20-2026 | 0
NRE-EC-222.0 | AC SCHEMATIC | 34.5kV BKRS 23 & 24 |  | 01-20-2026 | 0
NRE-EC-223.0 | AC SCHEMATIC | 34.5kV BKRS AUX2 & CT-B2M |  | 01-20-2026 | 0
NRE-EC-224.0 | AC SCHEMATIC | 34.5kV BUS 2 & VT-B2M |  | 01-20-2026 | 0
NRE-EC-260.0 | AC SCHEMATIC | DIGITAL FAULT RECORDER 1 ANALOG INPUTS |  | 01-20-2026 | 0
NRE-EC-261.0 | AC SCHEMATIC | DIGITAL FAULT RECORDER 2 ANALOG INPUTS |  | 01-20-2026 | 0
NRE-EC-300.0 | DC SCHEMATIC | 138kV DISCONNECT SW L1, T1, T2 & 34.5kV DISCONNECT SW M1, M2 & BT1 |  | 03-13-2026 | 1
NRE-EC-301.0 | DC SCHEMATIC | 138kV BREAKER L1 RELAYING |  | 01-20-2026 | 0
NRE-EC-301.1 | DC SCHEMATIC | 138kV BREAKER L1 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-301.2 | DC SCHEMATIC | 138kV BREAKER L1 INTERNALS |  | 01-20-2026 | 0
NRE-EC-304.0 | DC SCHEMATIC | 138kV LINE PRIMARY RELAYING |  | 03-13-2026 | 1
NRE-EC-304.1 | DC SCHEMATIC | 138kV LINE SECONDARY RELAYING |  | 03-13-2026 | 1
NRE-EC-307.0 | DC SCHEMATIC | 138kV BUS DIFFERENTIAL 87-BH |  | 01-20-2026 | 0
NRE-EC-308.0 | DC SCHEMATIC | PRIMARY MASTER LOCKOUT 86MP |  | 01-20-2026 | 0
NRE-EC-308.1 | DC SCHEMATIC | SECONDARY MASTER LOCKOUT 86MS |  | 01-20-2026 | 0
NRE-EC-309.0 | DC SCHEMATIC | 138kV/34.5kV T1 TRANSFORMER PRIMARY RELAYING & CMET-1 |  | 03-13-2026 | 1
NRE-EC-309.1 | DC SCHEMATIC | 138kV/34.5kV T1 TRANSFORMER SECONDARY RELAYING |  | 01-20-2026 | 0
NRE-EC-309.2 | DC SCHEMATIC | 138kV/34.5kV T1 TRANSFORMER PROTECTION & CONTROL |  | 03-13-2026 | 1
NRE-EC-310.0 | DC SCHEMATIC | 34.5kV BUS 1 DIFFERENTIAL RELAYING |  | 01-20-2026 | 0
NRE-EC-310.1 | DC SCHEMATIC | BESS-AUX 1 METER |  | 03-13-2026 | 1
NRE-EC-311.0 | DC SCHEMATIC | 34.5kV BKR 11 RELAYING |  | 03-13-2026 | 1
NRE-EC-311.1 | DC SCHEMATIC | 34.5kV BKR 11 PROTECTION AND CONTROL |  | 01-20-2026 | 0
NRE-EC-311.2 | DC SCHEMATIC | 34.5kV BKR 11 INTERNALS |  | 01-20-2026 | 0
NRE-EC-312.0 | DC SCHEMATIC | 34.5kV BKR 12 RELAYING |  | 01-20-2026 | 0
NRE-EC-312.1 | DC SCHEMATIC | 34.5kV BKR 12 PROTECTION AND CONTROL |  | 01-20-2026 | 0
NRE-EC-312.2 | DC SCHEMATIC | 34.5kV BKR 12 INTERNALS |  | 01-20-2026 | 0
NRE-EC-313.0 | DC SCHEMATIC | 34.5kV BKR 13 RELAYING |  | 01-20-2026 | 0
NRE-EC-313.1 | DC SCHEMATIC | 34.5kV BKR 13 PROTECTION AND CONTROL |  | 01-20-2026 | 0
NRE-EC-313.2 | DC SCHEMATIC | 34.5kV BKR 13 INTERNALS |  | 01-20-2026 | 0
NRE-EC-314.0 | DC SCHEMATIC | 34.5kV BKR 14 RELAYING |  | 01-20-2026 | 0
NRE-EC-314.1 | DC SCHEMATIC | 34.5kV BKR 14 PROTECTION AND CONTROL |  | 01-20-2026 | 0
NRE-EC-314.2 | DC SCHEMATIC | 34.5kV BKR 14 INTERNALS |  | 01-20-2026 | 0
NRE-EC-315.0 | DC SCHEMATIC | 34.5kV BKR AUX1 RELAYING |  | 01-20-2026 | 0
NRE-EC-315.1 | DC SCHEMATIC | 34.5kV BKR AUX1 PROTECTION AND CONTROL |  | 01-20-2026 | 0
NRE-EC-315.2 | DC SCHEMATIC | 34.5kV BKR AUX1 INTERNALS |  | 01-20-2026 | 0
NRE-EC-319.0 | DC SCHEMATIC | 138/34.5kV T2 TRANSFORMER PRIMARY RELAYING & CMET-2 |  | 03-13-2026 | 1
NRE-EC-319.1 | DC SCHEMATIC | 138/34.5kV T2 TRANSFORMER SECONDARY RELAYING |  | 01-20-2026 | 0
NRE-EC-319.2 | DC SCHEMATIC | 138/34.5kV T2 TRANSFORMER PROTECTION & CONTROL |  | 03-13-2026 | 1
NRE-EC-320.0 | DC SCHEMATIC | 34.5kV BUS 2 87-B2 DIFFERENTIAL RELAYING |  | 01-20-2026 | 0
NRE-EC-320.1 | DC SCHEMATIC | BESS-AUX 2 METER |  | 03-13-2026 | 1
NRE-EC-321.0 | DC SCHEMATIC | 34.5kV BKR 21 RELAYING |  | 01-20-2026 | 0
NRE-EC-321.1 | DC SCHEMATIC | 34.5kV BKR 21 PROTECTION AND CONTROL |  | 03-13-2026 | 1
NRE-EC-321.2 | DC SCHEMATIC | 34.5kV BKR 21 INTERNALS |  | 01-20-2026 | 0
NRE-EC-322.0 | DC SCHEMATIC | 34.5kV BKR 22 RELAYING |  | 01-20-2026 | 0
NRE-EC-322.1 | DC SCHEMATIC | 34.5kV BKR 22 PROTECTION AND CONTROL |  | 03-13-2026 | 1
NRE-EC-322.2 | DC SCHEMATIC | 34.5kV BKR 22 INTERNALS |  | 01-20-2026 | 0
NRE-EC-323.0 | DC SCHEMATIC | 34.5kV BKR 23 RELAYING |  | 01-20-2026 | 0
NRE-EC-323.1 | DC SCHEMATIC | 34.5kV BKR 23 PROTECTION AND CONTROL |  | 03-13-2026 | 1
NRE-EC-323.2 | DC SCHEMATIC | 34.5kV BKR 23 INTERNALS |  | 01-20-2026 | 0
NRE-EC-324.0 | DC SCHEMATIC | 34.5kV BKR 24 RELAYING |  | 01-20-2026 | 0
NRE-EC-324.1 | DC SCHEMATIC | 34.5kV BKR 24 PROTECTION AND CONTROL |  | 03-13-2026 | 1
NRE-EC-324.2 | DC SCHEMATIC | 34.5kV BKR 24 INTERNALS |  | 01-20-2026 | 0
NRE-EC-325.0 | DC SCHEMATIC | 34.5kV BKR AUX2 RELAYING |  | 01-20-2026 | 0
NRE-EC-325.1 | DC SCHEMATIC | 34.5kV BKR AUX2 PROTECTION AND CONTROL |  | 03-13-2026 | 1
NRE-EC-325.2 | DC SCHEMATIC | 34.5kV BKR AUX2 INTERNALS |  | 01-20-2026 | 0
NRE-EC-360.0 | DC SCHEMATIC | DIGITAL FAULT RECORDER 1 DIGITAL INPUTS & OUTPUTS |  | 03-13-2026 | 1
NRE-EC-361.0 | DC SCHEMATIC | DIGITAL FAULT RECORDER 2 DIGITAL INPUTS & OUTPUTS |  | 03-13-2026 | 1
NRE-EC-365.0 | DC SCHEMATIC | DPAC-1 RELAYING |  | 03-13-2026 | 1
NRE-EC-370.0 | COMMUNICATION | RTAC & PDC/PC |  | 03-13-2026 | 1
NRE-EC-371.0 | COMMUNICATION | CLOCK IRIG & TIME DISTRIBUTION |  | 03-13-2026 | 1
NRE-EC-372.0 | COMMUNICATION | ETHERNET SWITCHES POWER & PORT SCHEDULE |  | 03-13-2026 | 1
NRE-EC-373.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL LAYOUT & BILL OF MATERIAL |  | 03-13-2026 | 1
NRE-EC-374.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL EEE FPP-1 INTERCONNECT |  | 03-13-2026 | 1
NRE-EC-375.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL EEE FPP-2 YARD |  | 03-13-2026 | 1
NRE-EC-376.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL EEE FPP-3 COLLECTION |  | 03-13-2026 | 1
NRE-EC-377.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL EEE FPP-4 COLLECTION |  | 03-13-2026 | 1
NRE-EC-380.0 | COMMUNICATION | FIBER OPTIC PATCH PANEL TRANSFORMER PATCH PANEL |  | 03-13-2026 | 1
Dwg. No. | Drawing Type | Drawing Title |  | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev. | Date | Rev.
NRE-EC-400.0 | STANDARD PANEL | ELEVATION & BILL OF MATERIALS |  | 01-20-2026 | 0
NRE-EC-400.1 | PANEL ELEVATION | OVERALL LINEUP |  | 01-20-2026 | 0
NRE-EC-401.0 | PANEL ELEVATION & BOM | PANEL 1 SCADA & COMMUNICATIONS |  | 01-20-2026 | 0
NRE-EC-401.1 | PANEL TEST SWITCH NAMEPLATE | PANEL 1 SCADA & COMMUNICATIONS |  | 01-20-2026 | 0
NRE-EC-401.2 | PANEL WIRING DIAGRAM | PANEL 1 SCADA & COMMUNICATIONS |  | 01-20-2026 | 0
NRE-EC-401.3 | PANEL WIRING DIAGRAM | PANEL 1 SCADA & COMMUNICATIONS |  | 03-13-2026 | 1
NRE-EC-401.4 | PANEL WIRING DIAGRAM | PANEL 1 SCADA & COMMUNICATIONS |  | 01-20-2026 | 0
NRE-EC-402.0 | PANEL ELEVATION & BOM | PANEL 2 138kV LINE & METERING PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-402.1 | PANEL TEST SWITCH NAMEPLATE | PANEL 2 138kV LINE & METERING PROTECTION & CONTROL |  | 03-13-2026 | 1
NRE-EC-402.2 | PANEL WIRING DIAGRAM | PANEL 2 138kV LINE & METERING PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-402.3 | PANEL WIRING DIAGRAM | PANEL 2 138kV LINE & METERING PROTECTION & CONTROL |  | 03-13-2026 | 1
NRE-EC-402.4 | PANEL WIRING DIAGRAM | PANEL 2 138kV LINE & METERING PROTECTION & CONTROL |  | 03-13-2026 | 1
NRE-EC-403.0 | PANEL ELEVATION & BOM | PANEL 3 138kV BUS DIFF & BKR L1 PROTECTION & CONTROL |  | 03-13-2026 | 1
NRE-EC-403.1 | PANEL TEST SWITCH NAMEPLATE | PANEL 3 138kV BUS DIFF & BKR L1 PROTECTION & CONTROL |  | 03-13-2026 | 1
NRE-EC-403.2 | PANEL WIRING DIAGRAM | PANEL 3 138kV BUS DIFF & BKR L1 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-403.3 | PANEL WIRING DIAGRAM | PANEL 3 138kV BUS DIFF & BKR L1 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-403.4 | PANEL WIRING DIAGRAM | PANEL 3 138kV BUS DIFF & BKR L1 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-404.0 | PANEL ELEVATION & BOM | PANEL 4 138/34.5kV T1 & BKR AUX1 PROTECTION & CONTROL |  | 03-13-2026 | 1
NRE-EC-404.1 | PANEL TEST SWITCH NAMEPLATE | PANEL 4 138/34.5kV T1 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-404.2 | PANEL WIRING DIAGRAM | PANEL 4 138/34.5kV T1 & BKR AUX1 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-404.3 | PANEL WIRING DIAGRAM | PANEL 4 138/34.5kV T1 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-404.4 | PANEL WIRING DIAGRAM | PANEL 4 138/34.5kV T1 & BRK AUX1 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-405.0 | PANEL ELEVATION & BOM | PANEL 5 138/34.5kV T2 & BKR AUX2 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-405.1 | PANEL TEST SWITCH NAMEPLATE | PANEL 5 138/34.5kV T2 & BKR AUX2 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-405.2 | PANEL WIRING DIAGRAM | PANEL 5 138/34.5kV T2 & BKR AUX2 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-405.3 | PANEL WIRING DIAGRAM | PANEL 5 138/34.5kV T2 & BKR AUX2 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-405.4 | PANEL WIRING DIAGRAM | PANEL 5 138/34.5kV T2 & BKR AUX2 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-406.0 | PANEL ELEVATION & BOM | PANEL 6 34.5kV BUS 1 DIFF & DFR PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-406.1 | PANEL TEST SWITCH NAMEPLATE | PANEL 6 34.5kV BUS 1 DIFF & DFR PROTECTION & CONTROL |  | 03-13-2026 | 1
NRE-EC-406.2 | PANEL WIRING DIAGRAM | PANEL 6 34.5kV BUS 1 DIFF & DFR PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-406.3 | PANEL WIRING DIAGRAM | PANEL 6 34.5kV BUS 1 DIFF & DFR PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-406.4 | PANEL WIRING DIAGRAM | PANEL 6 34.5kV BUS 1 DIFF & DFR PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-407.0 | PANEL ELEVATION & BOM | PANEL 7 34.5kV BKRS 11, 12, 13, &14 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-407.1 | PANEL TEST SWITCH NAMEPLATE | PANEL 7 34.5kV BKRS 11, 12, 13, &14 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-407.2 | PANEL WIRING DIAGRAM | PANEL 7 34.5kV BKRS 11, 12, 13, &14 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-407.3 | PANEL WIRING DIAGRAM | PANEL 7 34.5kV BKRS 11, 12, 13, &14 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-407.4 | PANEL WIRING DIAGRAM | PANEL 7 34.5kV BKRS 11, 12, 13, &14 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-408.0 | PANEL ELEVATION & BOM | PANEL 8 34.5kV BUS 2 DIFF PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-408.1 | PANEL TEST SWITCH NAMEPLATE | PANEL 8 34.5kV BUS 2 DIFF PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-408.2 | PANEL WIRING DIAGRAM | PANEL 8 34.5kV BUS 2 DIFF PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-408.3 | PANEL WIRING DIAGRAM | PANEL 8 34.5kV BUS 2 DIFF PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-409.0 | PANEL ELEVATION & BOM | PANEL 9 34.5kV BKRS 21, 22, 23, & 24 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-409.1 | PANEL TEST SWITCH NAMEPLATE | PANEL 9 34.5kV BKRS 21, 22, 23, & 24 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-409.2 | PANEL WIRING DIAGRAM | PANEL 9 34.5kV BKRS 21, 22, 23, & 24 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-409.3 | PANEL WIRING DIAGRAM | PANEL 9 34.5kV BKRS 21, 22, 23, & 24 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-409.4 | PANEL WIRING DIAGRAM | PANEL 9 34.5kV BKRS 21, 22, 23, & 24 PROTECTION & CONTROL |  | 01-20-2026 | 0
NRE-EC-410.0 | PANEL ELEVATION & BOM | PANEL 10 BESS & AUX. METERING |  | 01-20-2026 | 0
NRE-EC-410.1 | PANEL TEST SWITCH NAMEPLATE | PANEL 10 BESS & AUX. METERING |  | 01-20-2026 | 0
NRE-EC-410.2 | PANEL WIRING DIAGRAM | PANEL 10 BESS & AUX. METERING |  | 01-20-2026 | 0
NRE-EC-410.3 | PANEL WIRING DIAGRAM | PANEL 10 BESS & AUX. METERING |  | 03-13-2026 | 1
NRE-EC-410.4 | PANEL WIRING DIAGRAM | PANEL 10 BESS & AUX. METERING |  | 03-13-2026 | 1
NRE-EC-500.0 | STANDARD TERMINATION CABINET | ELEVATION & BILL OF MATERIALS |  | 01-20-2026 | 0
NRE-EC-501.0 | WIRING DIAGRAM | TERMINATION CABINET 'A' - TCA TB1-TB16 |  | 01-20-2026 | 0
NRE-EC-501.1 | WIRING DIAGRAM | TERMINATION CABINET 'A' - TCA TB17-TB32 |  | 01-20-2026 | 0
NRE-EC-501.2 | WIRING DIAGRAM | TERMINATION CABINET 'A' - TCA TB33-TB48 |  | 01-20-2026 | 0
NRE-EC-501.3 | WIRING DIAGRAM | TERMINATION CABINET 'A' - TCA TB49-TB66 |  | 01-20-2026 | 0
NRE-EC-502.0 | WIRING DIAGRAM | TERMINATION CABINET 'B - TCB TB1-TB16 |  | 01-20-2026 | 0
NRE-EC-502.1 | WIRING DIAGRAM | TERMINATION CABINET 'B' - TCB TB17-TB32 |  | 01-20-2026 | 0
NRE-EC-502.2 | WIRING DIAGRAM | TERMINATION CABINET 'B' - TCB TB33-TB48 |  | 01-20-2026 | 0
NRE-EC-502.3 | WIRING DIAGRAM | TERMINATION CABINET 'B' - TCB TB49-TB66 |  | 01-20-2026 | 0
NRE-EC-550.1 | WIRING DIAGRAM | JUNCTION BOX 138kV CCVT-HV |  | 01-20-2026 | 0
NRE-EC-551.1 | WIRING DIAGRAM | JUNCTION BOX 34.5kV VT-B1 |  | 01-20-2026 | 0
NRE-EC-551.2 | WIRING DIAGRAM | JUNCTION BOX 34.5kV VT-B2 |  | 01-20-2026 | 0
NRE-EC-555.1 | WIRING DIAGRAM | JUNCTION BOX 34.5kV 89-BT1 CT1 & CT2 |  | 01-20-2026 | 0
NRE-EC-557.0 | WIRING DIAGRAM | YARD LIGHTS |  | 01-20-2026 | 0
NRE-EC-600.1 | WIRING DIAGRAM | 138kV MOD SW 89-L1, 89-T1, & 89-T2 |  | 01-20-2026 | 0
NRE-EC-600.2 | WIRING DIAGRAM | 34.5kV MOD SW 89-M1, 89-M2, & 89-BT1 |  | 01-20-2026 | 0
NRE-EC-601.1 | WIRING DIAGRAM | 34.5kV BKR 52-L1 |  | 01-20-2026 | 0
NRE-EC-609.0 | WIRING DIAGRAM | 138/34.5kV T1 TRANSFORMER |  | 01-20-2026 | 0
NRE-EC-611.0 | WIRING DIAGRAM | 34.5kV BKR 52-11 |  | 01-20-2026 | 0
NRE-EC-612.0 | WIRING DIAGRAM | 34.5kV BKR 52-12 |  | 01-20-2026 | 0
NRE-EC-613.0 | WIRING DIAGRAM | 34.5kV BKR 52-13 |  | 01-20-2026 | 0
NRE-EC-614.0 | WIRING DIAGRAM | 34.5kV BKR 52-14 |  | 01-20-2026 | 0
NRE-EC-615.0 | WIRING DIAGRAM | 34.5kV BKR 52-AUX1 |  | 01-20-2026 | 0
NRE-EC-619.0 | WIRING DIAGRAM | 138/34.5kV T2 TRANSFORMER |  | 01-20-2026 | 0
NRE-EC-621.0 | WIRING DIAGRAM | 34.5kV BKR 52-21 |  | 01-20-2026 | 0
NRE-EC-622.0 | WIRING DIAGRAM | 34.5kV BKR 52-22 |  | 01-20-2026 | 0
NRE-EC-623.0 | WIRING DIAGRAM | 34.5kV BKR 52-23 |  | 01-20-2026 | 0
NRE-EC-624.0 | WIRING DIAGRAM | 34.5kV BKR 52-24 |  | 01-20-2026 | 0
NRE-EC-625.0 | WIRING DIAGRAM | 34.5kV BKR 52-AUX2 |  | 01-20-2026 | 0
NRE-EC-700.0 | AC SYSTEM | STATION SERVICE AUX |  | 03-13-2026 | 1
NRE-EC-701.0 | AC SYSTEM | AC PANELS 1 & 2 AC1 & AC2 |  | 01-20-2026 | 0
NRE-EC-710.0 | DC SYSTEM | BATTERY SYSTEM |  | 03-13-2026 | 1
NRE-EC-711.0 | DC SYSTEM | DC PANELS 1 & 2 DC1 & DC2 |  | 01-20-2026 | 0